MS-QMS Operating Procedure. Design Review Procedure.

# Purpose

The purpose of this procedure is to ensure that formal documented reviews are planned and conducted at appropriate stages of the product’s design and development.

The design reviews are performed to:

a) Evaluate the ability of the results of design and development to meet design inputs

b) Identify any problems and propose necessary actions.

c) Propose any other additional actions, as appropriate

# Scope

This procedure applies to all product development activities for new product development and launch and for revisions to existing products (ICAP-P-030001 Product Development, Launch and Maintenance Procedure, ICAP-P-030003 Design Change Procedure).

Scope does not include:

- Milestone Reviews (Refer ICAP-P-030004 Milestone review procedure for details)

- Single Work product reviews, also called peer reviews or technical reviews. (Refer ICAP-P-072001 PDLM Document Control and Quality Records for details)

- Code reviews (Refer ICAP-P-030031 Software Design and Development Procedure)

Guideline: This procedure is applicable to ISP11 and later releases.

Contents

1	Purpose	2

2	Scope	2

3	Responsibilities	4

4	Abbreviations and Definitions	4

5	Process	5

5.1	Types of Design Review	5

5.2	Design Review in MLD Release	6

5.3	Process Flow	7

5.4	Tasks / Process Steps	9

6	Documents and Records including their Retention Periods	10

7	References	10

8	Annexes / Appendices	11

8.1	Appendix A: Guidance Questions for Design Reviews	11

Document references	13

# Responsibilities

| Role | Responsibilities |
| --- | --- |
| Review Owner | - Primary executor of the review process. - Responsible for gathering the design material under review (note that this may include actual ownership of the design material). - Responsible for documenting the review record and tracking the open actions to closure, if any. |
| Qualified Reviewer | - Responsible for reviewing material under review and providing review comments to Review Owner. - Member of the review team; either from function with design-area expertise or from a stakeholder group, such as Manufacturing, Customer Service, Marketing, supply chain, Quality and Regulatory. |
| Independent Reviewer | - A qualified reviewer without direct responsibility for the design stage under review; the independent reviewer can come from within the Organization (e.g. from another project team), be from another Organization, or a consultant hired for expertise. - Responsible for reviewing material under review and providing review comments to Review Owner. |
| Design Review Approver | - Design review approvers consist of the independent reviewer, project manager and Quality representative - Responsible for ensuring proper process execution - Approves the Review Report. |

# Abbreviations and Definitions

See ICAP-P-010005 Abbreviations and Definitions.

| Term | Definition |
| --- | --- |
| CCB | Change Control Board |
| DHF | Design History File |
| MLD | Modify Launch Design |
| PDLM | Product Development, Launch and Maintenance |
| PRC | Product Release Committed |
| Sver and Sval | Start of Final Verification and Validation |
| Design Inputs | Definition of functional, behavioral, quality, or other aspects that are observable properties of the product from outside the product. High quality requirements should be necessary, unambiguous, complete, consistent, design independent, and verifiable. |
| Product Design | The definition of the architecture, components, modules, interfaces, data, and behaviors for a product to satisfy the product requirements. |
| Design and Development Plans | Plans that describe or reference the design and development activities and define responsibility for implementation. The plans shall identify and describe the interfaces with different groups or activities that provide, or result in, input to the design and development process. The plans shall be reviewed, updated, and approved as design and development evolves. |

# Process

## Types of Design Review

The table below identified the design reviews that need to be planned at minimum in a release. The Project Core Team may plan additional Design Reviews as long as the requirements of this procedure are met. The design reviews are planned as per the Design and development planning procedure (ICAP-P-030024 Design and Development Planning Procedure).

Depending on the complexity of the program, the verification and validation design reviews can be combined as appropriate.

Refer appendix A for guidance on the design control questions to be considered as inputs for the different design review types.

| Design Review | Purpose | Software product |
| --- | --- | --- |
| Design Plan and Input review | Ensure that all the applicable plans are available as needed for PRC, reviewed and approved for design and development phase. Refer to PDLM deliverable list. The first review at PRC would essentially consider planning element. The subsequent ones would focus on the primarily design inputs (ICAP-P-030002 Design Input Procedure). Ensure the completeness and consistency of the product requirements and appropriate mitigation of safety risks (ICAP-P-030007 Product Life-Cycle Risk Management). Ensure the completeness, consistency, and traceability of the product design related to the product requirements. Ensure that the risk-related elements of the product design are adhering to the overall product requirements and product design. *The design review at SVer and SVal shall verify completeness and consistency of design planning and design input and deliverables at the time of review. Review owner: System Architect / System Engineer Reviewers: Release Manager, Project Manager, Verification lead/manager, Quality representative, Regulatory representative, Independent reviewer, Clinical representative and if applicable: Manufacturing, Customer Service, Marketing, supply chain. | Once at PRC and Prior to entering *SVer and SVal phase |
| Verification results review | Ensure the correctness, completeness and traceability of the verification results (ICAP-P-030010 Design Verification Procedure) relative to the product requirements, so that the design output (ICAP-P-030021 Design Output Procedure) meets the design input (ICAP-P-030002 Design Input Procedure). Ensure that the product requirements and product design are consistent and complete. Review owner: Verification lead/manager Reviewers: System Architect / System Engineer, Quality representative, Regulatory representative, Independent reviewer, Clinical representative and if applicable: Manufacturing, Customer Service, Marketing, supply chain. | On Completion of Final Verification |
| Validation results and Design Transfer readiness review | This review comprises of both validation results and design transfer readiness. For validation results review: Ensure the correctness, completeness and traceability of the validation results relative to the user needs. Ensure that the user needs and product design are consistent and complete (ICAP-P-030011 Design Validation Procedure). For Design Transfer Readiness: Ensure that all Readiness activities for design transfer activities as identified in the design transfer plan (ICAP-P-030006 Design Transfer). Review owner(s): Validation lead/manager Reviewers: System Architect / System Engineer, Verification lead/manager, Quality representative, Regulatory representative, Independent reviewer, Clinical representative, Manufacturing, Customer Service, Marketing and supply chain. | On completion of Design validation |

Each Program Increment shall have at a minimum one design review. The type and scope of this review shall depend on the scope and intent of the program increment. However, in case of a planned verification or validation cycles, the respective design reviews shall be mandatory.

## Design Review in MLD Release

The MLD releases are Design Change activities and shall follow Design Change Procedure (ICAP-P-030003) and the Design Change work instruction (ICAP-W-030003.02).

For Level release, at least one design review shall be conducted. If only one review is planned, it shall cover the essential elements of inputs, planning, verification and validation (if applicable). The design review may be combined with the final CCB review as defined in the Design Change work instruction (ICAP-W-030003.02), provided an Independent reviewer is part of the review team. When multiple reviews are held, they can cover the elements as per the timing and relevance. The design review outcome can be captured in the Level Release Report, and a separate report is not mandated.

For Service Pack releases, design review is not needed.

## Process Flow

## Tasks / Process Steps

For each Design Review, a Review Owner is assigned who is responsible for the Design Material under review and for the execution of the review procedure.

      - Prepare Design Review

- Determine if the appropriate design material is ready for review.

- Schedule a Design Review meeting and distribute the Design Material to be reviewed to the review participants identified in the project plan.

- Identify any open actions from previous design reviews and their status

      - Review Provided Design Material

- Each reviewer participating in the Design Review examines the provided Design Material and assesses it based on the type of design review scheduled

      - Execute Design Review / Attend design review meeting

- The goal of the design review is the evaluation of the design, including identification of issues, potential issues and improvement opportunities in the design, and agreement on resolution of concerns.

- Design reviews may be conducted via meeting or held offline. The meeting and feedback gathering can be in one or multiple sessions.

- The Review Owner records the participants involved.

- During the review, the Review Owner presents the Design Material and discusses the review feedback.

- Reviewers provide their feedback on the review material and identify any action items needed to address the feedback.

- If a designated employee listed on the program release plan/project plan is unable to attend, it should be noted in the design review report. In such an instance, an offline review can be conducted by the review owner with evidence attached in the design review report.

- The Review Owner records all the feedback and action items.

- The review participants generate a review result statement as to whether the Design Review is approved, or not approved.

- If the Design Review is not approved by stakeholders, then a new Design Review shall be planned. If the Design review is approved by stakeholders, then a Design review report is generated.

      - Generate Review Report

The Review Owner generates a Review Report which contains, at minimum:

- Name of release

- The type of the Design Review

- Date(s) of the meeting.

- A list of reviewers including identification of independent reviewer.

- A list of the Design Material reviewed from a controlled repository.

- A list of all review feedback gathered.

- Action plan to address feedback, with responsibility and timeline identified.

- The review result statement.

The Review Report is archived by the Review Owner in the DHF and approved by the Review Owner and the Design Review Approver(s).

      - Address Action Items

If the Design Review is approved with action items, the Review Owner ensures that the action items are closed by the stated timelines.

# Documents and Records including their Retention Periods

| Document / Record Name | Archive Location | Retention Period |
| --- | --- | --- |
| Design review Record ICAP-T-030005.01 | DHF repository | ICAP-P-072003 Document and Record Archiving and Retention Procedure |

# References

Applicable standards and regulations as per the Quality Manual and Regulatory Compliance process and template

| Reference Number | Document Title | Document ID |
| --- | --- | --- |
| ICAP-P-030001 | Product Development Launch & Maintenance (PDLM) Process | ICAP-P-030001 |
| ICAP-P-030002 | Design Input Procedure | ICAP-P-030002 |
| ICAP-P-030003 | Design Change Procedure | ICAP-P-030003 |
| ICAP-P-030004 | Milestone and Gate Review Procedure | ICAP-P-030004 |
| ICAP-P-030006 | Design Transfer Procedure | ICAP-P-030006 |
| ICAP-P-030007 | Product Life Cycle Risk Management | ICAP-P-030007 |
| ICAP-P-030010 | Design Verification Procedure | ICAP-P-030010 |
| ICAP-P-030011 | Design Validation Procedure | ICAP-P-030011 |
| ICAP-P-030021 | Design Output Procedure | ICAP-P-030021 |
| ICAP-P-030024 | Design and Development Planning Procedure | ICAP-P-030024 |
| ICAP-P-030031 | Software Design and Development Procedure | ICAP-P-030031 |
| ICAP-P-072001 | PDLM Document Control and Quality Records Procedure | ICAP-P-072001 |
| ICAP-T-030005.01 | Design Review Record | ICAP-T-030005.01 |
| ICAP-W-030003.02 | Design Change Work Instruction | ICAP-W-030003.02 |

# Annexes / Appendices

## Appendix A: Guidance Questions for Design Reviews

The following questions and topics are examples to be considered during the various Design Reviews:

Design Plan and Input Review:

- Have all the software development planning aspects considered in your appropriate plan?

- Are applicable regulations and standards for compliance considered as part of Regulatory and Compliance Plan?

- Have you planned for legacy software?

- Have you identified and planned for SOUP and third party software and their integration?

- Are all SOUP items third party software assessed for their risks?

- Are the user needs understood and the intended use clearly articulated?

- Is there at least one product requirement for each user need?

- Are product requirements unambiguous and testable? Do they cover both functional and non-functional requirements?

- Does the User Requirement Specification (URS) capture User needs, Intended use, Indications for use, Primary Operating Functions (i.e. safety related use scenarios), Intended users’ profile, intended use environment, target markets and commercial claims?

- Does Product Requirement Specification (PRS) adequately translate the user and patient needs into a set of product requirements and covers all the relevant aspects such as functional and non-functional requirements?

- Are the design input requirements been assessed for all attributes required for the static verification?

- Is the architecture and detailed design (if applicable) been assessed for static verification?

- Are all the requirements compliant with clinical relevance, applicable laws and regulations?

- Product-level issues to be discussed have been listed, focusing on proposed design

- Are all the clinical algorithms defined and covered?

- Does the product design cover the product requirements?

- Have the Usability and Human interfaces requirements been considered?

- Have the Reliability requirements been considered?

- Have Service and Maintainability requirements been considered?

- Do the product requirements cover Interoperability, Reusability, Portability attributes?

- Are the technical risks understood and articulated?

- Is appropriate performance established relative to competitive benchmarks?

- Are the component requirements appropriate for the assigned behaviors / responsibilities / interfaces?

- Do the component requirements meet the product requirements allocated?

- Do the component requirements and design comply with the product requirements and design?

- Are the risks (safety, Security, Privacy) addressed and the mitigations covered in Requirements, Design and Risk Management

- Are all design constraints and restrictions understood and covered appropriately? Ex: Some requirements would require a specific programming languages, specific algorithms, specific communication protocols, etc.

- Are all the application layers, class diagrams, sequence diagram/flow diagram, required actors, entity-relationship diagrams, interfacing systems identified as part of design(as appropriate)?

- Are all the tools/technologies/methodologies identified for the development of the software?

- Is the traceability evidenced  as appropriate for this stage?

Verification Results Review:

- Have the resulting changes from product defect fixes resulted in consistent updates to design input requirements, product design (URS, PRS, SDS, and DRS-DDS (if applicable))?

- Do the verification results cover the product requirements?

- Is product labeling verified and ready for release?

- Are all the product defects identified during verification are resolved and verified? If not, is the Product Defect Status/Summary presented? Does the verification results requires a change in any of the requirements?

- Does the verification plan, verification report, verification results documents reviewed and released in DHF?

- Are the safety and security aspects from Risk management tested and results are documented with appropriate evidences?

- Where applicable, are external sites identified for the limited site deployment & testing?

- Are all the product defects identified during verification are resolved and verified?

- Does the mitigations from risk management file are  tested and evidences are traceable to test

- Is all the instructions in IFU are verified and traceable to test IDs?

- Is the risk analysis done for all the hazardous defects noticed?

- Is the traceability evidenced  as appropriate for this stage?

- Are released versions of third party medical devices integrated in the product, where applicable?

Validation results and Design Transfer readiness Review:

- Validation results review:

- Have the resulting changes from product defect fixes resulted in consistent requirements updates to design input and  product design(URS,PRS,SDS, DRS-DDS(if applicable)), and are the user needs still fulfilled?

- Do the validation results cover the user needs?

- Is product labeling validated and ready for release?

- Are the risks properly mitigated? Is the risk analysis done and mitigated for all the hazardous defects noticed during validation? (Either clinically or by design)

- Is Product Defect Status/Summary presented? (All the defects identified from validation need to be resolved/verified before the product release)

- Have the Validation, Validation report, Validation results are reviewed and approved appropriately?

- Does the validation results requires a change in requirements?

- Is the link between DHF & DMR appropriate? Provide evidences for the same.

- Is the traceability evidenced as appropriate for this stage?

- Design Transfer readiness review

  - Are approved design outputs used for Design transfer?

  - Are all the Design transfer activities completed as planned? E.g. Creation of manufacturing SOP’s, completion of process validation etc.

  - Check the readiness of functions such as Manufacturing, Service, Customer support for product release

  - Are there any other prerequisites to start Design Transfer activities?

  - Is the link between DHF & DMR appropriate? Provide evidences for the same.

End of Document

# Document references

| Document Number | Document name |
| --- | --- |