Procedure 16.2.9 Manage Corrective and_or Preventive Actions (CAPA) Procedure (NextGen).

Contents

1. Purpose	3

2. Scope	3

3. Terminology and Abbreviations	3

4. Accountabilities / Responsibilities	6

5. Procedure	9

5.1. Quality Event Management	10

5.2. Corrective and Preventive Action (CAPA) Investigation and Action	11

5.3. Oversight of the CAPA and Event Management Process	12

6. References	13

# Purpose

The purpose of this procedure is to define the activities, deliverables and responsibilities related to Manage Corrective and/or Preventive Actions (CAPA) and Quality Event Management.

# Scope

Organization name: Imaging Informatics

This information applies to the below scope under QMS-0056.

# Terminology and Abbreviations

| Terminology/ Abbreviation | Description/ Definition |
| --- | --- |
| Corrective and Preventive Action (CAPA) | Quality Record to document problem description, correction(s), containment, communication, final risk assessment, root cause analysis, identification and implementation of corrective/preventive actions, and effectiveness. |
| CAPA Monthly Performance Review | Formal meeting in which key leadership of the QMS reviews the overall performance of the Quality Event Management and CAPA Process to ensure it is effective in identifying, investigating, and addressing issues in a timely manner. |
| Containment | Action(s) taken to stop continuance of the problem (generation of new non-conformances) until the permanent solution can be implemented. Examples of Containment are work stoppages, product hold and market hold. |
| Correction | Action(s) taken to correct / eliminate a detected non-conformance. Examples of Corrections are repairing products, reworking product, and remediating records. |
| Corrective Action (CA) | Action(s) taken to eliminate the cause of a detected non-conformance or other undesirable situation (prevents recurrence) |
| Date Due Extension (DDE) | Formal request to change the due date to an agreed action from what has been previously approved. |
| Detected | The presence of a specific problem or irregularity has been recognized, enabling subsequent evaluation, documentation, and corrective action if necessary. |
| Fast Track CAPA | Low Priority (Low Risk/Preventive CAPA’s) which also meet the additional criteria that there is an established and well-defined trending plan with clear action limits that would identify the issue should it reoccur, (must be fully within Philips control.) If a CAPA is to take this approach, this must be clearly stated, with the rationale for how this meets the criteria, in the CAPA Record. It is important to note that a ‘Fast Track CAPA’ is still expected to uphold all the requirements of a standard CAPA, however the requirements are allowed to be fulfilled with other means within the QMS due to the low risk of the situation. For topic specific details, see relevant sections in the work instruction. |
| Horizontal Analysis | The process of comparing data, events, or occurrences across multiple instances or periods to identify patterns, trends, or commonalities that can help determine the underlying cause of a problem. By examining similar situations or failures side-by-side, this analysis helps investigators pinpoint factors that consistently contribute to the issue, thereby facilitating a more accurate and comprehensive identification of the root cause. This method is valuable for uncovering systemic issues and ensuring that corrective actions address the fundamental problem. |
| IT | Information Technology |
| Management Review | The defined process for top management to manage, track, and ensure compliance and improvement of the quality management system. |
| Non-Conformance | Failure to meet specified requirements or deviation from the expected output. |
| Nonconformance has escaped Philips control | Product and / or Service nonconformance which is found past final acceptance and release from the given QMS scope. For QMS’s which are the ‘last leg’ of product delivery to non-Philips owned customers- this is an escape to distribution networks (beyond the Philips ERP / SAP system.) |
| Preventive Action (PA) | Actions taken to prevent the occurrence of a non-conformance or other undesirable situation even though a nonconformity has not yet occurred. |
| Supplier Corrective Action Report (SCAR) | A Supplier Corrective Action Request (SCAR) is a formal document used to address and resolve issues related to non-conforming products or services provided by a supplier. The SCAR process involves identifying the root cause of the problem, implementing corrective actions, and verifying their effectiveness to prevent recurrence. |
| Quality Event | Quality Record to document a problem or potential problem which impacts the quality system or quality of products produced by the quality system escalated by the QMS sub-system processes. Entry point for the CAPA process, however not all Quality Events are expected to become CAPA’s |
| Repeat CAPA | A CAPA is considered a "Repeat CAPA" if it is initiated to address the recurrence of an issue that was expected to have been resolved by another CAPA. (Looking back at least to those initiated in the past 2 years.) |
| Root Cause | The underlying factor or primary reason for the occurrence of a problem or issue. It is the most fundamental cause, which, when addressed, prevents the recurrence of the problem. Identifying the root cause is essential for effective problem resolution and long-term prevention. |
| Root Cause Analysis | A structured investigation which aims to identify the cause(s) of a problem. |
| Safety Issue | A malfunction, labelling issue, or other failure to meet specified requirements of the device and/or process may have caused or contributed to a death or serious injury; or it would be likely to cause or contribute to a death or serious injury should it recur. |
| Stand Alone CAPA Record | A self-contained record that provides complete and independent information for the CAPA, without relying on external references outside the CAPA tool. It contains all necessary details to be understood and evaluated on its own without leaving the CAPA record. |
| Sub-System (QMS) | A designated component of an overall quality management system that focuses on specific aspects of quality control and assurance. It encompasses processes, procedures, and resources aimed at maintaining and improving the quality standards within a particular area of an organization. |
| Sub-System Inventory | A routine assessment of the sub-system inputs to the Quality Event / CAPA process to ensure there are comprehensive, objective, and timely escalations which is provided as input to Quality Management System (QMS) Management Review. |
| Undue Delay | Delay in action versus reasonable expectation given the risk of the issue- an unnecessary or excessive postponement or slowdown in the progress or completion of a task, process, or action. It implies a delay that exceeds what is reasonable or acceptable, often resulting in inefficiencies or negative impacts on outcomes. When the risk of an issue is high, evaluation, investigation and implementation of actions should be expedited with appropriate urgency. Specific timeliness benchmarks are defined in the process metrics. |
| Validation | An assessment to confirm that the outcome fulfils its intended purpose and delivers reliable performance. Validation ensures that the solution is effective, efficient, and suitable for its intended use. Confirmation by examination and provision of objective evidence that specified requirements have been fulfilled. |
| Validation of Action | Prior to implementation of actions, validation may be required where process validation or re-validation is necessary, or where user needs or intended uses are changed and design validation will be required. |
| Verification | Activities which ensure that all the elements of the proposed action (documentation, training, or other activity) will satisfy the requirements of the proposed action. Typically executed in accordance with the change control process. |
| Verification of Effectiveness (VoE)/ Effectiveness Check (EC) | Measure and determination if the corrective/preventive actions have eliminated the problem or diminished the problem at a level proportionate with the effects. This involves applying objective assessment methods, such as metrics, performance indicators, and reviews, to determine whether the implemented measures effectively address the targeted problem or requirement. |
| Verification of Implementation (VoI) | Objective confirmation that a given action has been put into effect. Often provided by showing a procedure is in place and trained, that a design/part change is implemented in the product. |
| Additional terms, including full list of Quality Event / CAPA Tool field definitions, are included in the Quality Event and CAPA Tool Manual (see section 6 References) |  |

# Accountabilities / Responsibilities

| Responsible Role(s) | Description |
| --- | --- |
| Top Management | Responsible and accountable to the effectiveness of the CAPA Process to identify and mitigate key quality risks to the Product and/or QMS in a timely, effective, and compliant manner. |
| CAPA Review Board (CRB) Chair | - Serves as the Process Owner for the QMS element of CAPA, responsible for the content and execution of this process. - Ensures that the CAPA Review Board meeting is scheduled, including the required attendees or their documented delegate(s), the minutes of the meeting are documented including action(s) agreed per process. - Ensures an assessment of the triggers into Quality Event Management and CAPA is completed, providing recommendations for improvement action(s) to Management Review at least annually per process. - Ensures a review of Quality Events identifying actionable trends using sound statistical techniques is conducted and shared in Management Review at least annually. - Responsible for ensuring that relevant information related to quality problems as well as corrective and preventive actions is submitted for Management Review per process. - Reviews and Approves the CAPA record at the Action Plan step. Responsible for documenting feedback for their rejection(s) of the record should they occur. May act as CAPA Approver and/or Quality Event Approver for all other steps in the process. - Ensures that the CRB is presented with CAPA’s for their review and approval at Action Plan step, as well as per the CRB Chairs discretion, any CAPA / Quality Event escalations. - Is permitted to approve, on behalf of the CRB, minor changes to the record which do not impact the intent of the Action plan, including effectiveness check criteria, that the CRB had last approved. - Responsible for ensuring the CAPA record fulfills the CAPA process requirements, including verification of corrections and corrective actions. - Responsible for reviewing and approving Date Due Extension(s), ensuring that the risk(s) of approving these extension(s) is considered. Responsible for maintaining ‘CAPA Master’ level of competency. |
| CAPA Review Board Member (CRB) | - Oversees the Quality Event Management and CAPA Process health, reviewing objective data on a periodic basis to identify opportunities for improvement, defines and track action(s) to address opportunities. - Ensures Quality Event Evaluators, CAPA Owners and resources are assigned to each Quality Event and/or CAPA with appropriate priority and actions are undertaken without undue delay. - Reviews and Approves CAPA’s at the end of the Action Plan state to: ensure soundness of the investigation, timeliness, and effective impact of actions, including resource commitment. - Reviews and decides action(s) for Quality Event or CAPA’s which are escalated to the CRB team for support. Responsible for maintaining ‘CAPA Basic’ level of competency. |
| CAPA Owner | - Primarily responsible and accountable to execute a CAPA. - Assembles and project manages a CAPA Team of relevant subject matter experts to collaborate on the CAPA Investigation and Action(s) to CAPA Completion. - Responsible for ensuring deliverables are documented within the CAPA record in a timely manner. - Responsible for escalating to the CRB Chair risks to meeting objectives in a timely manner. - Ensures that safety issues are to be communicated to Top Management / MS-QMS Management and the legal business partner - Represents the CAPA record during internal or external audits and inspections. Responsible for maintaining ‘Essential’ level of competency. |
| CAPA Approver | - This may be the same individual as the CRB Chair. - Reviews and Approves the CAPA record at the Investigation, Effectiveness Check and Closure steps. Responsible for documenting feedback for their rejection(s) of the record should they occur. - Responsible for ensuring the CAPA record fulfills the CAPA process requirements, including verification of corrections and corrective actions. Responsible for maintaining ‘Master’ level of competency. |
| Action Owner (Quality Event and/or CAPA) | - Responsible for completing and documenting the outcome of assigned actions per agreed timelines. - Responsible for providing objective evidence of implementation of actions to the Event Evaluator / CAPA Owner in a manner such that it may be included in the record. - Responsible for escalating to the Event Evaluator / CAPA Owner risks to meeting objectives in a timely manner. Responsible for maintaining ‘CAPA Basic’ level of competency |
| Quality Event Initiator | - Anyone within the organization who becomes aware of a non-conformance or potential non-conformance which indicates a Quality Event is to be triggered. - Provides the required information to initiate a Quality Event Record in a timely manner. Responsible for maintaining ‘CAPA Basic’ level of competency. |
| Quality Event Evaluator | - Primarily responsible and accountable to execute a Quality Event evaluation and define proposed action(s) without undue delay. - Typically, is the local process owner or product expert. - Ensures appropriate Subject Matter Expert(s) are included as necessary. Responsible for maintaining ‘CAPA Essential’ level of competency. |
| Quality Event Approver | - This can be the same individual as the CRB Chair. - Assigns Quality Event Evaluator. - Reviews and Approves the Quality Event record at the Evaluation Approval and Closure steps. Responsible for documenting feedback for their rejection(s) of the record should they occur. - Responsible for ensuring the Quality Event record fulfills the Quality Event process requirements, including verification of actions. Responsible for maintaining ‘CAPA Master’ level of competency. |
| Stakeholder Reviewer | - Optional approver assigned at the discretion of the CRB Chair / Event Approver / Event Evaluator. - Reviews and approves record at the transition points they are assigned. Responsible for documenting feedback for their rejection(s) of the record should they occur. - Acts as subject matter expert based on CAPA/Quality Event content, with their review based on the CAPA/Quality Event record meeting their expectations per the content that they are expert in. Responsible for maintaining ‘CAPA Basic’ level of competency. |
| Training Competency Requirements for Roles are further described in the Quality Event and CAPA Tool Manual (see section 6 - References) |  |

# Procedure

Manage corrective and/or preventive actions (CAPA): The Manage Corrective and/or Preventive Actions (CAPA) Process establishes and defines when and how containments, corrections, corrective actions, and/or preventive actions are undertaken. These actions should be commensurate with the significance, effect or risk of the nonconformity or potential nonconformity and be taken without undue delay.

All activities required in this process, including those for identifying the nature of the nonconformance, the results of any investigation and action taken, and the implementation of corrective and preventive actions, including verification and validation activities, shall be documented and maintained.

Figure A – Quality Event Management and CAPA Process Overview

## Quality Event Management

Sources of Quality Data within the Philips Quality System Elements are monitored and analysed at defined frequencies, utilizing defined methods of analysis, to identify existing and potential product, process, and quality system nonconformances. Appropriate statistical methodology is employed where necessary to detect recurring quality problems.

The methods of monitoring and analysis of quality data, including the triggers for required escalation to the Quality Event process shall be documented within each of the sub-systems. The procedures shall include requirements for analysing processes, work operations, quality nonconformances and concessions, quality audit reports, quality records, service records, complaints, returned product, and other sources of quality data to identify existing and potential causes of nonconforming product, or other quality problems that may require action(s).

Assessments are conducted at least annually as an input to Management Review to ensure that the triggers for escalation to the Quality Event process from the QMS Sub-Systems are timely and appropriate to the scope of the QMS, ensuring visibility to risks to meeting the Quality Policy are included. (This includes risks to product safety and effectiveness, product quality, non-compliance to a required regulation/standard, systemic non-conformances.)

Not all issues escalated to the Quality Event process will result in a CAPA. The Quality Event is evaluated to determine if corrective and/or preventive actions (CAPA) are indicated based on risk, and if so, is then escalated to a CAPA without undue delay. Quality Events which indicate a safety / potential safety non-conformance which has escaped Philips control must be escalated to the CAPA process.

Quality Events that do not proceed to a CAPA shall document the necessary action(s) such as correction(s), including verification and/or validation of the actions, to address the problem. Actions shall be taken without undue delay appropriate to the risk.

The Quality Event record is approved for closure when all actions are verified complete, documented, and closed in the record.

| List of Documents Related to The Activity |  |  |  |
| --- | --- | --- | --- |
| Document Number | Document Name | Deliverable / Record / Type / Other |
| 2005002046 | CAPA Sub-System Inventory Template (NextGen) | Template |
| 2005002045 | Quality Event Management and CAPA Tool Manual ITSUI (NextGen) | IT System User Instruction |

## Corrective and Preventive Action (CAPA) Investigation and Action

Problems which proceed to CAPA are investigated further, ensuring to:

- Investigate the cause(s) of the CAPA problem / potential problem relating to product, processes, and the quality system. The problem(s) shall be evaluated to determine scope, risk, and impact.

- Determine root cause(s), where possible, documenting the activities, tools, methods, and statistical approaches used to support the analysis and determination of the root cause. If root cause(s) cannot be determined, then probable cause(s) shall be identified.

- Identify the action(s) needed to establish containment to limit the impact, isolate the effects and/or prevent spreading of CAPA problem.

- Ensure that information regarding non-conforming product and quality problems is disseminated to those directly responsible for assuring the quality of such product or the prevention of such problems to take action to control and correct it as well as required notifications to external parties.

- Identify appropriate action(s) proportionate to the effects of the non-conformances / potential non-conformances identified to correct and prevent recurrence of non-conforming product and quality problems without undue delay. This may include corrections, corrective actions, and/or preventive actions including updating the methods, processes and/or procedures with any changes needed to correct and prevent identified quality problems.

- Review and update product risk documentation as appropriate if the nonconformance / potential nonconformance is directly impacting product.

- Verify and/or validate the proposed corrections, corrective and/or preventive actions prior to implementation to confirm the actions are likely to be effective and do not adversely affect the ability to meet applicable regulatory requirements or the safety and performance of the finished device / product / process.

- Verify the implementation of corrections, corrective and/or preventive actions, supported with objective evidence for their implementation, which includes all changes in methods and procedures needed to correct and prevent the identified quality problems.

- Implement action(s) without undue delay, and within the dates specified in the CAPA Action Plan. (Date Due extensions may be permitted with appropriate assessment and approval.)

- Confirm the effectiveness of the actions taken to prevent recurrence / occurrence of the problem, using sound statistical techniques where appropriate. Confirm preventive actions have effectively reduced or eliminated the risk of the potential nonconformance. Document all activities, results, conclusions, and objective evidence to support conclusions within the CAPA record, ensuring good documentation practices and privacy requirements are met. When objective evidence is not required or available, a written rationale is required.

- The CAPA record is approved for closure when the effectiveness criteria have been successfully met and documented, all CAPA tasks and actions are verified complete and closed in the record.

| List of Documents Related to The Activity |  |  |  |
| --- | --- | --- | --- |
| Document Number | Document Name | Deliverable / Record / Type / Other |
| 2005002045 | Quality Event Management and CAPA Tool Manual ITSUI (NextGen) | IT System User Instruction |

## Oversight of the CAPA and Event Management Process

Top Management of the QMS shall be accountable for the performance and effectiveness of the Quality Event Management and CAPA process, ensuring that resources are assigned and prioritized to define and execute the actions for each Quality Event and/or CAPA without undue delay.

Appropriate monitoring and management processes shall be established to manage the system health and performance of the Quality Event Management and CAPA Process, ensuring that the Quality Event / CAPA program is adequately resourced and prioritized. To enable this, a governance body known as the CAPA Review Board (CRB) shall be defined and have visibility and oversight of the Quality Event Management and CAPA process, escalating to Top Management as appropriate. At minimum, CRB shall review performance metrics to determine the health of the Quality Event Management and CAPA process, identify issues with the system performance and effectiveness, and initiate process improvements as required.

The CAPA Investigation results and action plans shall be reviewed and approved by the CAPA Review Board at the Action Plan Checkpoint to ensure soundness of the investigation, timeliness, and effective impact of actions including resource commitment.

The CRB shall ensure that the results of the CAPA’s and of the Quality Event Management and CAPA Process are communicated to impacted stakeholders, including Top Management,  that key CAPA system health information, as well as relevant information on identified quality problems, corrective and preventive actions are submitted for Management Review to ensure Event Management data and CAPA outcomes are evaluated for continuous improvement opportunities to contribute to improvement initiatives for the Product or QMS.

| List of Documents Related to The Activity |  |  |  |
| --- | --- | --- | --- |
| Document Number | Document Name | Deliverable / Record / Type / Other |
| 2005002046 | CAPA Sub-System Inventory Template (NextGen) | Template |
| 2005002045 | Quality Event Management and CAPA Tool Manual ITSUI (NextGen) | IT System User Instruction |

# References

| Ref # | Document/ Reference Title | Identification |
| --- | --- | --- |
| [REF-1] | Quality Event Management and CAPA Tool Manual ITSUI (NextGen) | 2005002045 |
| [REF-2] | CAPA Sub-System Inventory Template (NextGen) | 2005002046 |
| [REF-3] | 16.2.9.1 Quality Event Management Work Instruction (NextGen) | 2005002042 |
| [REF-4] | 16.2.9.2 Corrective and Preventive Action (CAPA) Investigation and Action Work Instruction (NextGen) | 2005002043 |
| [REF-5] | 16.2.9.3 Oversight of the CAPA and Event Management Process Work Instruction (NextGen) | 2005002044 |